## Slide 1: pelvicbinder®
Notes: The pelvicbinder® is one of three commercial pelvic binders recommended by the CoTCCC.

## Slide 2: pelvicbinder®
Binder correctly positioned at level of greater trochanters.
Notes: Pass the pelvicbinder® under the casualty’s thighs, and then slide it up the level of the greater trochanters.

## Slide 3: pelvicbinder®
Cut or fold the belt to meet the edge of the plates in front, and then attach the plates to the belt using the Velcro backing.
Notes: Read the text.

## Slide 4: pelvicbinder®
Pull the cord slowly to tighten the belt, then slide the lock into place.
Notes: Read the text.

## Slide 5: pelvicbinder®
Secure the ankles (but not too tightly).
Notes: Read the text.
Note the use of a tourniquet here to prevent external rotation of the legs. The ankles and toes can also be taped.

## Slide 6: pelvicbinder®
Placeholder for a video.
Notes: Click the photo to play the video.